
[image: image1.emf][image: image2.jpg]


[image: image3.png]ld Endeavour Foundation




This Toolbox Talk is to assist in leading a discussion around electrical safety.

Electricity is invisible – this in itself is very dangerous. You work with and use electricity every day at work and in your home, sometimes without even thinking about it!

[image: image4.png]Zer®OHorm



How can electrical incidents occur?

· Using frayed or damaged electrical cords

· Using damaged electrical equipment

· Allowing electrical equipment to come into contact with water when in use

· Switching power points on or off with wet hands

· Trying to fix or repair electrical equipment when not appropriately trained

· Coming into contact with electrical sources 
e.g. overhead power lines
What can you do to prevent electrical incidents?
· Check electrical equipment prior to using 

· Check that electrical cords are not frayed or damaged 

· Ensure electrical items are plugged in fully and are not piggy-backing plugs

· Never use damaged or faulty equipment

· Dry your hands before switching power on or off

· Remember to “look up and live” when working outside

· Apply an ‘out of service’ tag if items are faulty or damaged and report to your supervisor for appropriate action

· Only allow trained electricians to fix faulty electrical equipment 
Electrical Safety
Toolbox Talk Record
Note: Safety Toolbox Talk attendance can be captured within team meeting minutes with reference to a specific Toolbox Topic.

The below record sheet can be used for those who were unable to attend the team meeting to demonstrate that they have reviewed the Toolbox Topic separately. 

Further Note: The safety toolbox talk is NOT a training tool. It’s designed to raise safety awareness around specific safety topics and assists with encouraging conversation and reinforcing safety knowledge.  
	Name of Site / Service:
	


	Name 
	Signature
	Date

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


Toolbox Session


More Learning Choices


09.2014 





Electrical Safety


Toolbox Talk














What can you do to enable ZERO HARM @ Endeavour? 

