
[image: image1.jpg]


[image: image2.png]


[image: image3.png]



This Toolbox Talk is to assist you in leading a discussion around LPG cylinders on your site. 
LPG Cylinder Hazards:  This toolbox talk is to be delivered by all managers of sites who use LPG on their site for operational purposes and it is to be delivered to Production Team Leaders, Employment Coaches Truck Drivers and Forklift Operators. 
[image: image4.png]Zer®OHorm



Potential Dangers:

· Damage to a valve or regulator may cause a failure and a rapid release of gas.
· Heating source or impact to the pressure cylinder may lead to a catastrophic rupture resulting in a rapid and large release of gas and flying shrapnel.

· An uncontrolled release of LP Gas may lead to a fire or explosion, particularly in a confined area where potential ignition sources are present.
· LP Gas is denser than air. On release this gas will tend to collect in low lying areas such as pits, depressions and basements.
· People working in low lying areas or areas well away from the gas cylinder may be exposed to the risk of fire or explosion.

Site Responsibilities:

· Gas cylinders should be stored outdoors, preferably in a secure cage that is protected from sunlight and they have a loose-fitting chain around the cylinder as a support to stop cylinders falling over.
· Where a cage is not suitable; the cylinders should be protected with bollards.
· Ensure that your supplier places a lock on the cylinder to prevent tampering with the valve that releases the gas.
· Do not store items around or on top of the gas cylinder.
· Ensure a minimum fire break of 5 metres.
[image: image5.png]ld Endeavour Foundation



LPG Cylinders
Toolbox Talk Record
Note: Safety Toolbox Talk attendance can be captured within team meeting minutes with reference to a specific Toolbox Topic.

The below record sheet can be used for those who were unable to attend the team meeting to demonstrate that they have reviewed the Toolbox Topic separately. 

Further Note: The safety toolbox talk is NOT a training tool. It’s designed to raise safety awareness around specific safety topics and assists with encouraging conversation and reinforcing safety knowledge.  
around specific safety topics and assists with encouraging conversation and reinforcing safety knowledge.  
	Name of Site / Service:
	


	Name 
	Signature
	Date

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


LPG Cylinders


Toolbox Talk











Toolbox Session


More Learning Choices


05.2019 








What can you do to enable ZERO HARM @ Endeavour?
QF 4080.04: Safety Toolbox Talk Template

Issue: 03   Issue Date: March 2017   Last Reviewed Date:  21/03/2017    Next Review:  24 Months


